# Deep-Learning Segmentation of Fibers in SEM Micrographs: Methods

Training, calibration, and inference procedure for a config-driven U-Net segmentation model, and its role in occupational asbestos fiber counting.

# Abstract

We trained a convolutional encoder–decoder network to perform binary semantic segmentation of fiber structures in grayscale scanning electron microscopy (SEM) images of sampled air-filter deposits. The model is intended to assist — not silently replace — the manual fiber-counting workflow used in occupational asbestos-exposure assessment (filter loading, WHO-criteria fiber counts, and airborne concentration / time-weighted-average exposure reporting). Training and evaluation are fully config-driven and tracked in MLflow, so every number reported below traces back to an exact configuration and code state.

# 1. Dataset and splits

The training corpus consists of 298 image/mask pairs of SEM micrographs (one image excluded for a missing corresponding mask). Each image is a single-channel grayscale micrograph; each mask is a binary image where a pixel value greater than zero denotes fiber and zero denotes background. Mask files are matched to images by filename pattern ({stem}_mask.tif).

Pairs are split by source image, not by tile, into 70% train / 15% validation / 15% test (209 / 45 / 44 images) using a seeded random shuffle (seed 42). Splitting by image before tiling is deliberate: it prevents tiles from the same source micrograph from leaking across train/validation/test, which would otherwise inflate validation/test performance.

# 2. Preprocessing and tiling

## Contrast normalization

Each source image is normalized once, at full resolution, by clipping to its 1st and 99.5th percentile intensity and rescaling to [0, 1]. Percentile (rather than min–max) normalization is used because SEM images commonly contain a small number of very bright outlier pixels (charging artifacts, detector saturation) that would otherwise dominate a naive min–max stretch. This normalized array is cached to disk (memory-mapped .npy) so every tile drawn from a given image shares an identical contrast stretch, and the same normalization is applied verbatim at inference time.

## Tiling

Each normalized image is decomposed into overlapping square tiles via a sliding window (default 512×512 px, 384 px stride — 25% overlap). The final row/column of tiles is snapped to the image edge so the entire image is always covered, even when its dimensions are not an exact multiple of the stride.

## Sparse-mask handling

Fiber pixels are a small minority of total image area, so a large majority of naively generated tiles are entirely background. During training (train split only), tiles below a minimum foreground fraction (default 0.1%) are randomly kept with a fixed low probability (default 20%) rather than discarded outright — this reduces the volume of uninformative background tiles without eliminating the model's exposure to hard negatives. An alternative dynamic mode exists (per-epoch resampling weighted toward the model's current hardest negatives) but is not used in the production recipe.

## Channel handling and standardization

The single grayscale channel is replicated to 3 channels for compatibility with ImageNet/MicroNet-pretrained encoders. After augmentation, tiles are standardized with the ImageNet per-channel mean/std (matching the distribution the pretrained encoder was fine-tuned on); this standardization is applied identically in the training dataset and in the tiled-inference code path.

# 3. Data augmentation

Applied to the training split only (validation/test are unaugmented), via Albumentations:

| Transform | Parameters | p |
| --- | --- | --- |
| Horizontal flip | — | 0.50 |
| Vertical flip | — | 0.50 |
| 90° rotation | — | 0.50 |
| Affine | scale 0.75–1.35, translate ±5%, rotate ±15° | 0.50 |
| Brightness/contrast jitter | ±0.15 | 0.40 |
| Gaussian noise | σ 0.02–0.08 (on the [0,1] scale) | 0.30 |
| Gaussian blur | kernel 3–5 | 0.20 |

The wide affine scale range specifically accounts for fiber pixel-width varying with SEM magnification across the source dataset. Output is re-clipped to [0, 1] after augmentation, since brightness/noise transforms can push values slightly outside the normalized range.

# 4. Model architecture

The segmentation backbone is a U-Net (segmentation_models_pytorch) with a ResNet-50 encoder. Encoder weights are initialized from NASA's MicroNet pretrained-microscopy-models corpus — a domain-specific pretraining corpus of microscopy imagery, rather than natural-image ImageNet — under the hypothesis that microscopy-domain pretraining transfers better to SEM textures than natural-image pretraining. The training/inference code is architecture-agnostic: any segmentation_models_pytorch decoder family (U-Net, U-Net++, FPN, DeepLabV3+) and encoder is swappable via configuration without code changes, and standard ImageNet-pretrained or from-scratch encoders are supported as alternatives to MicroNet.

The model outputs a single-channel raw logit map. Any built-in output activation present in third-party model definitions is explicitly stripped, so sigmoid is applied only inside the loss, metric, and inference code — this “raw logits” contract is enforced uniformly regardless of which backend produced the model.

# 5. Loss function

The loss is a weighted sum of three terms, computed on sigmoid probabilities of the raw logits.

## (a) Binary cross-entropy

Standard pixelwise BCE.

## (b) Focal Tversky loss

The soft Tversky index is:

TI = (TP + ε) / (TP + α·FP + β·FN + ε)		(1)

with TP/FP/FN computed as probability-weighted sums (not binarized), α = 0.3, β = 0.7, ε = 1e-7. Weighting β > α penalizes missed fiber pixels (false negatives) roughly 2.3× more heavily than false positives — appropriate given that under-segmenting a thin fiber is a more consequential error than mild over-segmentation for downstream fiber counting. The focal form:

L_FT = (1 − TI)^γ,  γ = 0.75		(2)

additionally up-weights harder (lower-TI) examples during training.

## (c) Soft centerline-Dice (clDice) topology term

Weighted 0.3 in the total loss. A differentiable morphological skeleton is computed for both the predicted probability map and the ground-truth mask via iterative erosion (implemented as negated max-pooling, 5 iterations) and re-dilation; clDice is the harmonic mean of (i) the fraction of the predicted skeleton that lies inside the true mask and (ii) the fraction of the true skeleton that lies inside the predicted mask. This term directly rewards connected, unbroken fiber topology, addressing a failure mode of pure overlap losses (BCE, Dice, Tversky), which tolerate a single fiber being predicted as several disconnected fragments as long as total pixel overlap is high.

Total training loss:

L = BCE + L_FT + 0.3·(1 − clDice)		(3)

# 6. Training procedure

Optimizer: AdamW, weight decay 1e-4.

Differential learning rate: base learning rate 2×10⁻⁴ applied to the randomly-initialized decoder/head; the pretrained encoder receives this rate scaled by 0.1 (2×10⁻⁵), so transferred features are fine-tuned gently while the fresh decoder learns quickly.

LR schedule: ReduceLROnPlateau (factor 0.5, patience 4 epochs) driven by the monitor metric (Section 7); cosine annealing is supported as an alternative.

Early stopping: patience 20 epochs, minimum delta 1e-3, on the same monitor metric.

Budget: up to 400 epochs (early stopping typically halts training well before this ceiling).

Batch size: 8 tiles of 512×512 px.

Stochastic Weight Averaging is supported but disabled in the production recipe.

# 7. Training-control metric

Checkpoint selection, early stopping, and LR scheduling are driven by a threshold-free validation metric, val/soft_tversky — the same Tversky formula as Section 5(b), but accumulated as probability-weighted TP/FP/FN sums over the entire validation epoch (not averaged per-batch, which would let empty tiles trivially score near zero and deflate the true whole-image score on such sparse masks) and never binarized at a threshold. This is a deliberate design choice: it decouples training-time model selection from train.threshold, a deployment decision that is not yet calibrated during training (Section 8). Hard, thresholded analogues of every metric are logged in parallel for human-readable, deployment-realistic reporting, but do not drive any training decision.

# 8. Post-hoc threshold calibration

After training, the sigmoid-probability decision threshold is calibrated — rather than left at an arbitrary default of 0.5 — by sweeping it across ~99 values evaluated only on the validation split (never test, to avoid leakage into the held-out evaluation set) and selecting the value that maximizes a chosen metric (Dice by default). A precision–recall curve and its AUC are reported for this sweep; precision–recall (rather than ROC) is used because fiber masks are strongly background-dominated, and ROC-AUC would look misleadingly high under that class imbalance — the same reasoning that motivates using Dice/IoU/Tversky over raw pixel accuracy throughout this pipeline. The single resulting threshold is then applied uniformly across every split at inference time.

# 9. Inference

Full-resolution images are tiled using the same patch size/stride as training, so the effective receptive field and context seen by the model matches training exactly. Overlapping tile probabilities are blended with a 2D Gaussian window (following the nnU-Net sliding-window scheme), which down-weights each tile's less-reliable border pixels relative to its center and smooths seams between adjacent tiles. Edge tiles are reflect-padded (rather than zero-padded) so they are not artificially biased toward “background” by a black border.

Optional 8× dihedral test-time augmentation (TTA) — every combination of flip/90° rotation, each inverse-transformed and probability-averaged — is available as a no-retrain accuracy gain (empirically on the order of +1–2 Dice) at 8× inference cost; it is left off during iterative development and enabled only for final reported predictions. The final binary mask is the blended probability map thresholded at the calibrated value from Section 8.

# 10. Post-processing

Every predicted mask additionally passes through a fixed, classical (non-learned) morphological cleanup, applied in this order:

Binary closing (disk radius 1) — run first so it can bridge small, genuine gaps in a single fiber before the next step would otherwise mistake the resulting fragments for separate noise specks.

Binary opening (disabled by default, radius 0) — available to smooth jagged edges, but disabled because it risks eroding away genuinely thin fibers.

Removal of connected components ≤64 px.

Filling of interior holes ≤64 px.

Both the raw and post-processed masks are scored independently against ground truth, and the per-image delta (post − raw) for every metric is reported alongside the absolute values, so the contribution of this deterministic cleanup stage is always visible rather than assumed.

# 11. Evaluation metrics

For every image, the full confusion matrix (TP/FP/FN/TN, pixelwise) is computed against ground truth, from which accuracy, precision, recall, specificity, Dice, IoU, Tversky (α = 0.3, β = 0.7 — the same asymmetric weighting used in the loss, so optimization and reporting stay consistent), and F2 (a recall-weighted F-beta score) are derived. Metrics are computed identically for raw and post-processed predictions, across every split, and written to a single CSV for auditability.

# 12. Experiment tracking and reproducibility

Every training run logs its fully resolved configuration, per-step and final metrics, and periodic/best qualitative prediction images to a local MLflow tracking server, keyed by experiment name. The entire pipeline — data split, preprocessing, model, loss, training schedule, inference, and post-processing — is defined by one declarative YAML configuration per experiment (Table 1), so reproducing a reported result requires no code changes, only re-running training against the same config.

# 13. Application context

The source SEM images originate from air-filter samples collected for occupational asbestos-exposure monitoring. Segmented fiber masks feed downstream quantification — filter loading, WHO-criteria fiber counting, and airborne fiber concentration / time-weighted-average exposure reporting — that otherwise relies entirely on manual microscopist counting under magnification.

The model's intended role is to assist and accelerate, not silently replace, that expert workflow: the held-out test split has no influence on threshold calibration (Section 8), and companion tooling in the same repository supports manual per-image quality review — mask quality, filter loading level, and asbestos presence — so segmentation output remains auditable against expert judgment before being used in any exposure-limit-relevant reporting.

# Table 1. Production configuration

| Setting | Value |
| --- | --- |
| Architecture / encoder | U-Net, ResNet-50, MicroNet-pretrained |
| Input channels | 3 (grayscale replicated) |
| Patch size / stride | 512 / 384 px (25% overlap) |
| Batch size | 8 |
| Split (train/val/test), seed | 70/15/15, seed 42 |
| Loss | BCE + Focal Tversky (α=0.3, β=0.7, γ=0.75) + 0.3×clDice (5 iters) |
| Optimizer | AdamW, lr 2×10⁻⁴ (decoder) / 2×10⁻⁵ (encoder), wd 1×10⁻⁴ |
| LR schedule | ReduceLROnPlateau, factor 0.5, patience 4 |
| Early stopping | patience 20, min Δ 1×10⁻³ |
| Max epochs | 400 |
| Monitor metric | val/soft_tversky (threshold-free, maximize) |
| Inference blending | Gaussian window, reflect padding |
| Test-time augmentation | 8× dihedral (final predictions only) |
| Post-processing | close (r=1) → open (r=0, off) → remove ≤64px → fill ≤64px |